CPCCBC6001

Apply building codes and standards to the construction process for large building projects

ASSESSMENT SUMMARY

The assessment activities for CPCCBC6001 Apply building codes and standards to the construction process for large building projects cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name | Brodie Yarker |
| --- | --- |
| Participant signature |  |

Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment

Not applicable

| Task | Date completed | Assessment Results |  |
| --- | --- | --- | --- |
| Theory Exam | Select Date. | Satisfactory | Not Satisfactory |
| Workbook | Select Date. | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. | Satisfactory | Not Satisfactory |
| Outcome for CPCCBC6001 | Select Date. | Competent | Not Yet Competent |

| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |
| --- | --- |
| Theory Exam Workbook Practical Assessment | Workplace Quality document/s and/or Quality Assurance Template Existing building fire protection checklist Site and Working Plans |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

CPCCBC6001

Apply building codes and standards to the construction process for large building projects

THEORY EXAM

| Participant name | Brodie Yarker |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within two (2) hours, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

Explain why it is important to understand references the NCC makes to Australian Standards.

| Answer | The Australian standards referenced in the NCC will ensure all works completed are done safely and are compliant. |  |
| --- | --- | --- |

You have been asked to develop a tender proposal for a large government building in your State/Territory. Discuss in depth any legislation and Codes your submission must comply with?

| Answer | Large Government building would be a Class 5 building. NCC BCA 2009, Building Code of Australia. Building Act 1975 Must also comply with all Australian standards |  |
| --- | --- | --- |

Describe the listed NCC compliance assessment methods used to determine compliance using a Performance Solution pathway.

| Answer | Assessment method | Description |  |
| --- | --- | --- | --- |
|  | Evidence of suitability | Evidence of suitability can typically be given in support of a proposition that a material, product, method of construction, or design meets a performance requirement deemed-to-satisfy provision. |  |
|  | Verification methods | Verification methods are alternative ways in which a solution complies with performance requirements and can include Inspections,tests and calculations. |  |
|  | Comparison with DTS Provisions | Deemed-to-satisfy solutions specify numerous design and construction approaches, such as materials, components, design considerations, and construction, that are deemed to meet the performance requirements if employed. |  |
|  | Expert Judgement | a technical expert's opinion may be accepted. This is known as the application of expert judgement. |  |

Discuss the importance of documenting quality assurance and quality control processes relevant to the build.

| Answer | QA centres around the techniques that the development organisation has executed to guarantee that the plan fulfils quality guidelines and guarantee the most elevated industry standards are applied consistently. If we were to deviate from the quality control processes set out, this can lead to non-conformances/ non compliance issues which can lead to program and cost delays. |  |
| --- | --- | --- |

Discuss the basic principles of structural design and how stress or strain occurs.

| Answer | Structural design gives all the vital information regarding foundations, floors, walls, beams, roof types and the quality of materials to ensure that any of the structures built meet all the safety requirement. Stress/Strain in a structure occurs by firstly, it goes under the proportional limit in which stress is proportional to strain. Secondly, the structure begins to go under the plastic stage but can regain its shape after unloading, it is known as an elastic limit. In the third stage, the structure reaches to their ultimate stress and in the last stage, stress decreases while strain increases in such a manner that the structure collapse; this point is known as a fracture point. |  |
| --- | --- | --- |

Discuss compressive and tensile stresses on buildings?

| Answer | Compression is a force that pushes the particles of a material closer together. The opposite is tensile force which tends to elongate a material. |  |
| --- | --- | --- |

Describe considerations you make when writing workplace procedures.

| Answer | The biggest consideration is safety for workers, public, stakeholders. On every job site, compliance documentation is critical to all elements of operations. From the work instructions to quality and environmental requirements, documentation sets out the type of work, the timeframe for construction and the procedures for completing the task. Statements including the words "must," "must," or "will" are frequently used in these texts to imply that there are legal requirements that must be followed. Each project site will have its own set of compliance documents that must be consulted. |  |
| --- | --- | --- |

Discuss the listed levels found in the NCC Performance Hierarchy.

| Answer | Performance Hierarchy | Description |  |
| --- | --- | --- | --- |
|  | Objectives | Community expectations for buildings under the objectives section. |  |
|  | Functional statements | explains how the buildings will meet the goals. |  |
|  | Performance requirements | defines the minimum level of performance that a building must achieve to accomplish the Objectives and Functional Statements. |  |
|  | Building Solutions | is a performance-based document with mandated 'Performance Requirements.' The BCA allows for three compliance options to meet the 'Performance Requirements' such as: - Deemed to Satisfy - Alternative solution - Or a combination of the two |  |

Discuss two (2) properties, two (2) characteristics and two (2) limitations of concrete when used for buildings.

| Answer |  | Concrete |  |
| --- | --- | --- | --- |
|  | Properties | Used to construct columns, walls, slabs, beams Two properties used in concrete are Aggregates and Cement |  |
|  | Characteristics | Aggregates - Durability, Particle shape and surface texture Cement - Consistency. Strength. Setting time. |  |
|  | Limitations | The strength and workability of concrete depend upon the stone's surface. A smooth surface increases the workability of concrete. Still, it decreases the strength of concrete, while the rough surface is responsible for increasing the strength of concrete, but it decreases the workability of concrete. The tensile strength of cement is very low. It develops more cracks on the surface than other binders. |  |

Discuss three (3) benefits of using glass in buildings?

| Answer 1. 2. 3. | Energy efficient and withstands high temperatures Weather and rust resistant Recyclable material |  |
| --- | --- | --- |

Describe information you can determine from the working drawings and specifications when organising the excavation for the site of a three (3) storey unit block with underground parking.

| Answer | Working drawings contain dimensioned, graphical information that can be utilised to construct the works or suppliers to fabricate, assemble, and install elements. Architectural, structural, civil, mechanical, electrical, and so on are examples of these types of drawings. When organising the excavation, drawings to use in particular will be Civil, Structural, Architectural. Other reports that could be used would be geotechnical reports/ soil. Structural specifications. Construction management plan, Environmental plan, Impact management plan |  |
| --- | --- | --- |

Who would you discuss materials and plans with to ensure compliance with NCC Performance Requirements and site safety. Provide two (2) and explain your answers.

| Answer | Structural engineer and civil engineer both would be needed to discuss temporary works that would need constructed to retain surrounds of excavation. |  |
| --- | --- | --- |

Why may you need to use a combination of Performance Solutions and Deemed-to-Satisfy (DtS) solutions to comply with the Performance Requirements of the NCC

| Answer | Performance requirements under the NCC must be satisfied through either: - Performance Solutions; - Deemed-To-Satisfy (DTS) Solutions; or - A combination of the two. There are numerous ways to achieve compliance. The most typical conservative ways of achieving DTS solutions are by following: - Acceptable Construction Practices; or - Australian Standards referenced within the NCC. Designers can choose to follow Australian Standards as Performance Solutions over DTS solutions. However, this compliance process may require expert judgment and additional verification. |  |
| --- | --- | --- |

CPCCBC6001

Apply building codes and standards to the construction process for large building projects

WORKBOOK

| Participant name | Brodie Yarker |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written activities as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - The timeframe for these tasks will be established by your Assessor or Training Plan, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

NOTE

At times, you will be provided with a specific business context to which you must respond, otherwise it is anticipated that you will use a workplace of your choosing (your own, or hypothetical) to provide the context to the task.

At all times, the responses in your assessment must reference Australian (Queensland or Federal) documentation, including legislation, regulations, codes of practice, standards and guidance publications.

Access the NCC via the internet to determine the Building Classification/s that apply to the building diagram below. The building is to contain offices in the upper floors, one caretaker flat on the first floor and shops and cafes on the ground floor. Explain your findings below.

Answer

My findings show that the upper levels 3-5 would come under: A Class 5 building is an office building used for professional or commercial purposes. The flat/unit on floor 1 would come under: Class 4 is a dwelling in a Class 5, 6, 7, 8 or 9 building if it is the only dwelling in the building. Ground floor would come under: A Class 6 building is a shop or other building used for the sale of goods by retail or the supply of services direct to the public.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access the NCC via the internet to locate the requirements applicable to a building development in the Brisbane area, containing 6 sole-occupancy units, two (2) on each level, each being a separate dwelling. This building includes one (1) basement level designated for car parking. The proposed building structure requires reinforced concrete floors and columns. Document your findings or where in the NCC the information can be located.

Building Description

Classification

Class 2/7a

Rise in Storeys

3 rise in storeys

Number of Storeys

4 Storeys

Type of construction

Type A construction Table C2D2

Climate Zone and description

Climate zone 2 – warm humid summer and mild winter Climate zone map ABCB resource library

Fire resistance and stability

Locate fire resistance information

Part C1 fire resistance

Compartmentation and fire separation

Volume 1 NCC Part C3 Compartmentation and fire separation This Part contains Deemed-to-Satisfy Provisions for Part C1. It covers compartmentation to limit fire size and spread, separation to limit fire spread between fire compartments, parts with different classifications, stairways, lift shafts, equipment, electricity supplies and public corridors. It also contains construction requirements to facilitate fire brigade intervention

Fire hazard properties of materials, assemblies, fixtures and linings

Specification 3 fire hazard properties AS/NZS 1530.3.

Material requirements

Reinforced concrete requirements relative to Australian Standards

AS3600

Glazing requirements specifically for windows, sliding doors with frames and balconies.

External walls glazing AS2047

| Satisfactory Outcome |  |  |
| --- | --- | --- |

The building discussed in ACTIVITY 2 includes one (1) basement level designated for car parking. Provide information required for - Bored piling to retain the soil and enable basement walls. - Work Health and Safety - Water proofing - Water ingress Document your findings or where the information can be located.

Bored piling to retain soil and enable basement walls

Piling AS2159

Work Health and Safety

Work Health and Safety Act 2011 Work Health and Safety Regulations 2011

Water proofing

AS 4654.1 – Materials Installed as per AS 4654.2

Water ingress

Part F1 Surface water management, rising damp and external waterproofing

| Satisfactory Outcome |  |  |
| --- | --- | --- |

CPCCBC6001

Apply building codes and standards to the construction process for large building projects

PRACTICAL ASSESSMENT

| Participant name | Brodie Yarker |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel, unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 | Select Date. | Workplace Simulation |  |  |  |

ASSESSOR COMMENTS: GENERAL

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Provide detail |
| 1.1A. | Specify how scope of work was determined: |
| 1.1A. | Specify how general requirements and prescriptive requirements of the NCC were determined and documented: |
| 1.1B. | How were relevant Australian Standards identified and located: |
| 1.2A. 1.2B. 1.3A. 1.3H. 1.5C. 1.5D. | Specify () where building classifications, criteria requirements and performance solutions were documented: Workplace Quality document Quality Assurance Template Other (please specify): Document attached as evidence |
| 1.3F. | Specify () who was consulted regarding compliance options: Project management Relevant tradesperson Builder Supplier Other (please specify): |
| 1.4A. 1.4B. | Specify () where NCC requirements for passive and active fire protection and performance solutions were documented: Workplace Quality document Quality Assurance Template Other (please specify): Document attached as evidence |
| 1.4C. | Specify existing buildings checked for compliance with active fire protection requirements: Is checklist used attached as evidence? |
| 1.5A. 1.5B. | Specify () communication methods applied to manage construction and other trades compliance: Emails Schedule Memos Daily meetings Site induction Other (please specify): |
| 1.5E. | Specify how non-confirming building materials and products were managed using evidence of suitability: |

CPCCBC6001

Apply building codes and standards to the construction process for large building projects

| Practical Task 1 |  |
| --- | --- |
| Description of task: The participant must demonstrate the skills and knowledge to make a range of critical decisions in relatively complex situations while applying building codes and standards to one (1) building project over three (3) storeys, with below ground construction to meet the requirements of the National Construction Code (NCC) prior to the build commencing. The participant must also inspect existing buildings for fire compliance. Assessor and observer will be looking for evidence including: - Interpret relevant codes and standards’ requirements. - Determine the scope of works and NCC general requirements and Performance Requirements to achieve a DtS solution. - Identify Australian Standards referenced in the NCC Relevant to the build and confirm the requirements. - Classify the building/s. - Determine the use and arrangement of the building and apply the appropriate NCC classification/s. - Locate and document NCC requirements for multiple classifications. - Apply solutions to construction problems. - Determine the range of NCC criteria required to ensure project compliance. - Identify alternative, compliant solutions for construction problems to comply with NCC Performance Requirements. - Meet the Performance Requirement of the NCC by applying a Performance Solution supported by one or a combination of the Assessment Methods. - Use a Deem-to-Satisfy (DTS) solution supported by one or a combination of Assessment Methods to meet NCC compliance. - Use a combination of Performance Solutions and DTS solutions to comply with the Performance Requirements of the NCC. - Discuss compliance options with relevant construction personnel to ensure compliance with NCC Performance Requirements. - Identify and complete relevant documentation to meet Performance Requirements of the NCC. - Apply fire protection requirements. - Read the NCC requirements to determine fire resistance required for all classes and types of buildings. - Identify and apply NCC requirements with respect to passive and active fire protection to all classes and types of buildings. - Check existing buildings for compliance with passive and active fire protection requirements according to NCC requirements. (See HO2 and NCC to create checklist) - Implement strategy to manage construction compliance. - Establish strategies to manage construction compliance of large, complex and high-rise buildings with the NCC. - Implement and coordinate the work of professionals involved in the development and management of the building process. - Seek effective design solutions for buildings of more than three storeys to meet the needs of clients and ensure compliance with the NCC. - Design and implement quality assurance processes to ensure effective and compliant management of the construction process. - Detect non-conforming building materials and products and manage the evidence of suitability as required in the NCC. These tasks may be simulated or real. The Participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. Evidence includes site plan and workplace documents covering the information required. A template is available. The Observer is to provide detailed comments on the tasks completed by the Participant (on the Observer Comments, overleaf). The Assessor is to verify the Observer’s comments, noting their findings in the Assessor Comments (on the back of the Practical Assessment cover page) and provide the assessment outcome. |  |
| Resources required: Construction schedules, plans, drawings and specifications for one (1) building project over three (3) storeys, with below ground construction; workplace quality policies and procedures; technology to access building and related industry codes, standards and manufacturer product information and materials specifications; Technology to access the NCC and current relevant Acts and Regulations. PPE as required. |  |
| Observer details |  |
| Name of observer: |  |
| Role of observer (Confirm suitability to sign) |  |
| Email address of observer |  |
| Signature of observer: |  |
| Date: | Select Date. |

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |
| --- | --- |
| 1 Interpret relevant codes and standards’ requirements |  |
| Determine the scope of works and NCC general requirements and Performance Requirements to achieve a DtS solution. |  |
| Identify Australian Standards referenced in the NCC Relevant to the build and confirm the requirements. |  |
| 2 Classify the building |  |
| Determine the use and arrangement of the building and apply the appropriate NCC classification/s. |  |
| Locate and document NCC requirements for multiple classifications. |  |
| 3 Apply solutions to construction problems |  |
| Determine the range of NCC criteria required to ensure project compliance. |  |
| Identify alternative, compliant solutions for construction problems to comply with NCC Performance Requirements. |  |
| Apply a Performance Solution supported by one or a combination of the Assessment Methods to meet the Performance Requirement of the NCC. |  |
| Use a Deem-to-Satisfy (DTS) solution supported by one or a combination of Assessment Methods to meet NCC compliance. |  |
| Use a combination of Performance Solutions and DTS solutions to comply with the Performance Requirements of the NCC. |  |
| Discuss compliance options with relevant construction personnel to ensure compliance with NCC Performance Requirements. |  |
| Lead discussions to explore solutions to complex design problems with relevant construction personnel. |  |
| Identify and complete relevant documentation to meet Performance Requirements of the NCC. |  |
| 4 Apply fire protection requirements |  |
| - Read the NCC requirements to determine fire resistance required for all classes and types of buildings. |  |
| - Identify and apply NCC requirements with respect to passive and active fire protection to all classes and types of buildings. |  |
| - Check existing buildings for compliance with passive and active fire protection requirements according to NCC requirements. (See HO2 and NCC to create checklist) |  |
| 5 Implement strategy to manage construction compliance |  |
| Establish strategies to manage construction compliance of large, complex and high-rise buildings with the NCC. |  |
| Implement and coordinate the work of professionals involved in the development and management of the building process. |  |
| Seek effective design solutions for buildings of more than three storeys to meet the needs of clients and ensure compliance with the NCC. |  |
| Design and implement quality assurance processes to ensure effective and compliant management of the construction process. |  |
| Detect non-conforming building materials and products and manage the evidence of suitability as required in the NCC. |  |

Observer comments: