Handout 1 - Compliance Review

| Participant name | Abbie Heaslip |
| --- | --- |
| Date | 17/10/24 |

| Building and construction project | Southern Queensland Correctional Precinct – Stage 2 |
| --- | --- |
| Project overview | Stage Two involves the construction of a new 1,500-cell, high security facility for male prisoners in Gatton, in order to address growing demand for correctional facilities in Queensland over the next three to five years. The Queensland Government declared that this new correctional centre will adopt a ‘health and rehabilitation’ operating model, with the aim of supporting safer communities through enhanced mental health and drug and alcohol rehabilitation services for prisoners, with a particular focus on addressing the ice epidemic and its link to violent and property crime. |
| Building classification | Class 1 – 10 buildings, max two storeys Class 2 – 9 building, Type C only constructions Specify class: |
| Project site address | Spring Creek QLD 4343 |
| State/territory where project is undertaken | Qld |
| Construction plan documents reviewed | Floor Plan Structural Drawing (masonry blockwork) Fire and Electrical Plans Elevations Site plan |

Building Legislation

List two (2) relevant legislations

| Building legislation | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Example: Electrical Safety Act | Yes | No | Smoke alarm locations shown in floor plans - photoelectric (AS 3786-2014) hardwired and interconnected. |
| Disability (Access to Premises–Building) Standards 2010 | Yes | No | As shown in the floor plans and other plans and drawings. There is various accessibility provisions included in the Prisons design for prisoners with disabilities. |
| Building Fire Safety Regulation 2008 | Yes | No | As seen in the plans, Smoke alarms are located in each location of the dwellings specified. Stairs, each cell, common areas, etc. All smoke alarms are installed on the ceiling. |

Australian Standards

Provide two (2) relevant standards

| Australian Standards | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Example: AS/NZS 3786 | Yes | No | called up in the NCC as the required minimum for smoke alarms to comply with. |
| AS 3700 | Yes | No | sets out the design and construction requirements for masonry structures. referenced in both NCC Volume One and Two providing design and construction requirement for masonry structures. |
| AS 1428.1 | Yes | No | Minimum design and construction requirements for building work in Class 2-9 buildings to enable access for people with disabilities. National Construction Code (NCC) and Disability (Access to Premises – Building) Standards (Premises Standards) refer to this Standard and other Australian Standards as means of compliance with the NCC Deemed-to-Satisfy accessibility provisions. |

NCC Requirements

Fire Safety x 1

| Requirements | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Volume 1 Section E4V1. | Yes | No | Assessment and generation of report in compliance to NCC E4V1. |

Health and amenity x 1

| Requirements | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Volume 1 Section F2D2 | Yes | No | Drawings detail caulking to conceal any gaps or spaces which may allow for water to penetrate. Where there is waterproofing and epoxy and what materials used, etc. |

Safe movement and access x 1

| Requirements | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Volume 1 D4D2 | Yes | No | Clear in plans and specifications where accessible provisions have been allowed for. Larger beds in accommodation, Reduced height for benches, ramps, disability rooms and areas on ground floor, etc. |

Energy efficiency x 1

| Requirements | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Volume 1 Section JV3 | Yes | No | Assessment and generation of report in compliance to NCC J1V3. |