CPCCBC4012

Read and interpret plans and specifications

ASSESSMENT SUMMARY

The assessment activities for CPCCBC4012 Read and interpret plans and specifications cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name | Mollie McGrow |
| --- | --- |
| Participant signature |  |

Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment

Not applicable

| Task | Date completed | Assessment Results |  |
| --- | --- | --- | --- |
| Theory Exam | Select Date. | Satisfactory | Not Satisfactory |
| Workbook | Select Date. | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. | Satisfactory | Not Satisfactory |
| Outcome for CPCCBC4012 | Select Date. | Competent | Not Yet Competent |

| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |
| --- | --- |
| Theory Exam Workbook Hand out 3 - Slab Plan for Activity 3 | Practical Assessment Cost estimation sheet (HO5 template available) |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

CPCCBC4012

Read and interpret plans and specifications

THEORY EXAM

| Participant name | Mollie McGrow |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within two (2) hours, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

What is the significance of concept drawing/sketches?

| Answer | Concept drawing/sketches emphasise main building principles and features to present preliminary ideas. They can be used to further explore ideas as they can be quickly incorporated into the drawings. |  |
| --- | --- | --- |

Discuss when you may come across concept drawings/sketches.

| Answer | In the early/preliminary stages of planning and designing |  |
| --- | --- | --- |

Explain what is meant by architectural plans.

| Answer | Architectural plans are used to highlight architectural aspects of the building and architectural elements that are integrated into the building. |  |
| --- | --- | --- |

Provide four (4) plans that are considered part of the architectural plans.

| Answer 1. 2. 3. 4. | Schedule of windows and doors Architectural floor plan Elevations Site plan |  |
| --- | --- | --- |

Describe what structural plans are.

| Answer | Structural plans are drawings that give details about the structural aspects of the building including but not limited to load carrying members, foundations and structural component dimensions |  |
| --- | --- | --- |

How is a structural plan different from an architectural plan?

| Answer | Structural plans are about elements that make the building strong and stable against anticipated external forces whilst architectural plans are about the aesthetics, functions and general feels. |  |
| --- | --- | --- |

Explain what a civil plan is.

| Answer | Civil plans generally include details from both architectural and structural plans. They provide an overview of construction site elements and how they are integrated into each other throughout the construction phase. |  |
| --- | --- | --- |

Discuss how civil plans may be similar to other plans.

| Answer | They provide an overview of the building where architectural and structural elements are combined. Similar to architectural plans they contain to contours of the landscape. |  |
| --- | --- | --- |

What is the purpose for mechanical plans?

| Answer | Mechanical plans contains specs related to mechanical equipment and processes, such as air conditioning, lifts and heaters. |  |
| --- | --- | --- |

Discuss three (3) details you may find in mechanical plans.

| Answer 1. 2. 3. | HVAC Layout Size, type and layout of ducting Thermostat type and location |  |
| --- | --- | --- |

When would electrical plans be used?

| Answer | Electrical plans are used to establish information about elements related to electrical systems or circuits eg: power, lighting and communication. They can also be used as a reference when you need to quantify the number of lights/switches or identify the types of lighting to be used. |  |
| --- | --- | --- |

Provide three (3) examples of details contained in electrical plans.

| Answer 1. 2. 3. | Wiring layout for power Location of panels and switches Schedule of loads |  |
| --- | --- | --- |

What are plumbing and drainage plans used for?

| Answer | Plumbing and drainage plans are used as visual representations of elements related to plumbing systems. They are used as a guide in the installation of pipes, fixtures, valves etc. |  |
| --- | --- | --- |

Discuss what may be needed when plans display council pipework.

| Answer | Utilities and services plans and specifications – this allows coordination with local utility companies or council authorities to ensure exact placement of pipes is known. |  |
| --- | --- | --- |

Why is it important to check and ensure that the plans you are using are the current version?

| Answer | It is important to check that you are using the current version of plans as they incorporate the latest amendments and prevent outdated and incorrect information which could escalate into larger problems. |  |
| --- | --- | --- |

What can occur if an outdated version of the plans is used?

| Answer | Incorrect information could be communicated leading to potential problems such as mistakes in cost estimates, purchasing of non-compliant materials, faulty installation of construction elements and costs to rectify faults caused. |  |
| --- | --- | --- |

Discuss what site plans are drawn to reflect.

| Answer | Site plans provide an overview of the entire property showing all site elements to be considered in the construction of a building and gives an idea of the entire scope of work involved. Key features include, but are not limited to, block identification, boundary, road identification, proposed building, existing fences, existing trees, setbacks and crossovers. |  |
| --- | --- | --- |

Discuss the purpose of reading the floor plan.

| Answer | The floor plan shows the arrangement of elements such as walls, columns, doors and windows. It can be used to identify furniture, appliances, the function and dimensions of different building spaces and arrangement of furniture. |  |
| --- | --- | --- |

Discuss two (2) key differences between elevation view and section view.

| Answer 1. 2. | Elevation views show the building facades and external whilst section views allow you to see through to the interior elements. Elevation views give details of floor to ceiling height and roof height whilst section views give details of door, window, fixtures and furniture dimensions. |  |
| --- | --- | --- |

Discuss the purpose of reading detail drawings.

| Answer | Detail drawings are used to examine and analyse intricate details and complex configurations by providing large scale views of parts or components. |  |
| --- | --- | --- |

Why is it important to measure from a datum point?

| Answer | A datum point is a horizontal reference point on or near the site that is used for all site elevation measurements and marked on constructions drawings and site plans. Measuring from a datum point ensures consistency and accuracy. |  |
| --- | --- | --- |

Discuss what reduced levels (RL) are and how these are established in construction drawings.

| Answer | Reduced levels are the vertical measurements that are established based on the datum. RL are established on drawings as positive and negative respective to whether they’re above or below the datum. |  |
| --- | --- | --- |

Describe the purpose of the title block and what it contains.

| Answer | The title block is a section on the drawing sheet that gives general and specific information about the drawings. This information includes, but is not limited to project title, project site address, name of draftsman, date of publication, amendments, scale, sheet number and client name. |  |
| --- | --- | --- |

Where is the title block usually located on the plans?

| Answer | At the bottom or sides (right side is more common than left) of the sheets. |  |
| --- | --- | --- |

Describe the purpose of using scale drawings in construction.

| Answer | Scale drawings show accurate illustrating of real life building components. Components and elements can be easily measured with a scale rule or using computer aided design to determine their actual size. |  |
| --- | --- | --- |

Describe each ratio of standard scale ranges below.

| Answer | Ratio | Description |  |
| --- | --- | --- | --- |
|  | 1:100 | One unit of the drawing is equal to the real size of the object being 100 times bigger (or the drawing is 100 times smaller). |  |
|  | 1:2 | One unit of the drawing is equal to the real size of the object being two times bigger (or the drawing is two times smaller) |  |
|  | 1:50 | One unit of the drawing is equal to the real size of the object being 50 times bigger (or the drawing is 50 times smaller) |  |

Describe why examining detail drawings is important.

| Answer | They are used for the to see and understand exactly how a job is to be done eg: a stair detail drawing would show the width and thickness of the stair tread and measurement of stair rise. |  |
| --- | --- | --- |

What is the difference between utilities plans and specifications and services plans and specifications in the context of building construction?

| Answer | Utilities plans refer to external utility infrastructure such as water, drainage and electrical distribution whilst services plans refer to internal systems and features including, but not limited to, air conditioning, HVAC and plumbing. |  |
| --- | --- | --- |

Describe what is meant by each of the following drawing descriptions.

| Answer | Drawing description | Meaning |  |
| --- | --- | --- | --- |
|  | Isometric drawings | 3D drawings on a 2D surface using 30 degree angles. They are used to view the image with corresponding scale dimensions. |  |
|  | Oblique drawings | 2D projection of 3D drawings that show true shape and form of the object from the point of view from the observer – mainly used to look at certain features. |  |
|  | Perspective drawings | 3D drawings which represent an object as it is perceived by the eye giving a realistic look, eg: renders. |  |
|  | Orthographic drawings | Three views (eg: top, front and side) in 2D to examine how building spaces look and to identify relationships among building elements based on the view. Examples include floor plans and elevation views. |  |

What are CAD drawings? Explain how CAD is used in building and construction?

| Answer | Computer Aided Design drawings, created and edited using computer software. They may be 2D, 3D or models. Engineers, architects and construction managers use CAD drawings to create precise drawings of the building. Parts of the building can be examined conveniently and accurately in different views and angles. |  |
| --- | --- | --- |

Provide a brief description of the given classes of buildings according to the National Construction Code.

| Answer | Building Class | Description |  |
| --- | --- | --- | --- |
|  | Class 1a building | One or more buildings that form a single dwelling eg: a detached house or terrace house |  |
|  | Class 2 building | A building with two or more sole-occupancy units that are separate dwellings |  |
|  | Class 4 building | The only dwelling or residence within any class 5, 6, 7, 8 or 9 building. |  |
|  | Class 5 building | An office building used for professional or commercial purposes, except for buildings of class 6, 7, 8 or 9 eg: law office, GP office. |  |
|  | Class 7b building | Warehouses, storage buildings or buildings used to display or produce wholesale goods. |  |
|  | Class 10a building | A non habitable building or structure - private garage, carport, shed of the like. |  |

What is building information modelling (BIM)?

| Answer | A 3D model based process that uses tools and technologies to create and manage digital representations of physical and functional characteristics. BIM is used to design and document designs and can generate more visuals to help stakeholders visualise the project upon completion. |  |
| --- | --- | --- |

Explain how the NCC is relevant to construction drawings.

| Answer | The NCC sets out technical provisions for design, construction and performance. The NCC requirements must be in the construction drawings in the planning stage. General requirements and performance requirements must comply.. |  |
| --- | --- | --- |

Discuss the importance of complying with standards during a building and construction project.

| Answer | Projects have to comply with NCC standards as it is a legal requirement. It also ensures safety, quality, sustainability and accessibility. |  |
| --- | --- | --- |

Discuss how you would identify wind bracing and tie-down requirements from construction plans.

| Answer | Wind bracing and tie-down requirements can be found in the roof plan and in the detail drawings of a project. Once found in the plans it highlights the requirements, locations, quantities and methods of installation of the tie downs. The detail drawings allow further identification into the configuration of wind bracings and components required. |  |
| --- | --- | --- |

Discuss why you would access AS 1684.2 Residential timber-framed construction Non-cyclonic areas, when reading plans and specifications.

| Answer | Wind bracing and tie down requirements from the plans must be checked against the wind bracing table which can be found in AS 1684.2 Residential timber-framed construction, Part 2: Non-cyclonic areas. AS 1684.2 gives information such as materials to be used, size of the brace, how to install the brace using requested tie-downs, and tie-down components. |  |
| --- | --- | --- |

Reasonable allowances are made by builders for the different construction items in a building project. Discuss what Prime Cost (PC) items are.

| Answer | PC items are items that are not yet selected or the prices cannot be determined when the contract is entered into. PC allowances are for both supply and installation of these items. Examples can include appliances, exact tile, etc. |  |
| --- | --- | --- |

Explain what Provisional Sum (PS) items are.

| Answer | PS items are particular works or services related to the cost of carrying out elements of work (including labour and materials). Examples can include pool excavations, landscaping, etc. |  |
| --- | --- | --- |

Explain how to locate installation points of the services to the building from the plans.

| Answer | Installation points can be found in the floor plans, they connect a fixture and the material used for supply. Examples include where the wires connect to the air conditioning unit or the plumbing fixtures connect to the vanity, etc.. |  |
| --- | --- | --- |

Explain how to locate connection points of services to the building from the plans.

| Answer | Connection points are found through looking at the labels in the plans and schedule of components attached. Examples include the consumer pole as the connection point for power supply or the sewer connection point. |  |
| --- | --- | --- |

Explain how to locate fixtures from the plans.

| Answer | Fixtures are located in a similar way to installation points by referring to floor plans and taking note of labels and legends within the plans. |  |
| --- | --- | --- |

CPCCBC4012

Read and interpret plans and specifications

WORKBOOK

| Participant name | Mollie McGrow |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written activities as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - The timeframe for these tasks will be established by your Assessor or Training Plan, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

NOTE

At times, you will be provided with a specific business context to which you must respond, otherwise it is anticipated that you will use a workplace of your choosing (your own, or hypothetical) to provide the context to the task.

At all times, the responses in your assessment must reference Australian (Queensland or Federal) documentation, including legislation, regulations, codes of practice, standards and guidance publications.

For the following activities, name the State/Territory you will base your research on.

| State/ Territory | Queensland |
| --- | --- |

Research and document your findings regarding legislation and codes that apply in your state/territory relevant to the following three (3) items. Summarise the requirements relevant to building drawings and sketches you identified and provide the URL where you sourced your responses. - Smoke alarms in a new building - Pool fences - Protection of waterways

- Smoke alarms

Name of Legislation (Commonwealth or State)

Fire and Emergency Services Act 1990, Building Fire Safety Regulation 2008, Building Regulation 2006, Australian Standard (AS) 3786-2014, Land Title Act 1994.

Summary of relevant excerpt/requirement

From 1 January 2017 smoke alarms must be replaced by a photoelectric type which complies with Australian Standard, smoke alarms must be less than ten years old, they must be operational and existing hardwired alarms that need replacement must be replaced with another hardwired alarm. By 1 January 2027 smoke alarms must be photoelectric, not contain an ionisation sensor, be less than 10 years old, operate when tested, be interconnected with other smoke alarms in the dwelling. By 2027 smoke alarms must be installed on each storey, in each bedroom, in hallways. They must be either hardwired or powered by a non-removable battery. Smoke alarms must not be placed within 300mm of a corner of a ceiling and a wall; within 300mm of a light fitting; within 400mm of an air-conditioning vent; or within 400mm of the blades of a ceiling fan. Special requirements exist for stairways, sloping ceilings and ceilings with exposed beams.

Source (URL or web source)

Info Sheet - Smoke Alarm Legislation (qfes.qld.gov.au)

- Pool fence installation

Name of Legislation (Commonwealth or State)

Queensland Development Code (QDC) Mandatory Part 3.4, s14 of the Building Act 1975, Building Regulation 2006, Building Code of Australia, Australian Standard 1926.1 and 1926.2

Summary of relevant excerpt/requirement

A pool fence or barrier must be at least 1200mm from bottom to top, any vegetation or branches that a child could use to climb over the pool barrier must be trimmed back, climbable objects must not be within 900mm of the pool barrier and any doors or windows that open into the pool enclosure must have fixed security screens.

Source (URL or web source)

Pool fences and barriers ¦ Homes and housing ¦ Queensland Government (www.qld.gov.au)

- Protection of waterways

Name of Legislation (Commonwealth or State)

Environmental Protection (Water and Wetland Biodiversity) Policy 2019

Summary of relevant excerpt/requirement

Ensure oils, chemicals, paint, thinners, poisons, garden clippings or rubbish don’t enter stormwater drains or sewers. Ensure rubbish is put into appropriate bins. Ensure sustainable practices are utilised.

Source (URL or web source)

Environmental Protection (Water and Wetland Biodiversity) Policy 2019 - Queensland Legislation - Queensland Government

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access Handout 1 (HO1- Floor Plan with dimensions) and respond to the following: - What is used for the internal wall lining? - What is used for the external cladding? - What roofing cladding is required? - How do you identify the smoke alarm installation points?

- What is used for the internal wall lining?

Clay brick and gyprock (plasterboard)

- What is used for the external cladding?

Painted render finish and colourbond orb

- What roof cladding is required?

Alternative plans would need to be provided for accruate roof cladding information, however an assumption could be made from the wall note that colourbond custom orb sheeting would be required for the roof cladding..

- How do you identify the smoke alarm installation points?

By locating the S in circles on the plans

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access Handout 2 (HO2- Footing Plan) and Handout 3 (HO3- Slab Plan) and respond to the following: - Specify the size and type of reinforcing to be used for BP.1 in Handout 2 (HO2-footing plan) - How do you determine where each BP.1 footing pier should be placed? - Mark each of the load bearing points in Hand out 3 (HO3- Slab Plan)

- Specify the size and type of reinforcing to be used for BP.1

Vertical 5.N12 – 5 vertical bars with 12mm diameter LIGS R6 Helix 200mm pitch – R6 helix ligatures pitched at 200mm

- How do you determine where each BP.1 footing pier should be placed?

By referring to BP.1 in the footing plan

- Mark each of the load bearing points in Hand out 3 (HO3- Slab Plan)

See marked hand out attached

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access Handout 4 (HO4- Residential Floor Plan) and respond to the following: - Which drawings are shown in these plans? - Which Australian Standard must be referenced when installing termite protection? - Make a list of the finishes noted on the document.

- Which drawings are shown in these plans?

Floor plans and elevations

- Which Australian Standard must be referenced when installing termite protection?

AS 3660 SE

- Make a list of the finishes noted on the document.

Roof - Custom Orb Deep Ocean Colorbond Gutter/Fascia – Deep Ocean Colourbond Walls – Dulux Cargo River Corbells – Dulux Calf Skin Window Frames – Powdercoat Anotech Grey Paving – Lifestyle Paving Liquid Limestone

| Satisfactory Outcome |  |  |
| --- | --- | --- |

CPCCBC4012

Read and interpret plans and specifications

PRACTICAL ASSESSMENT

| Participant name | Mollie McGrow |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel, unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 | Select Date. | Workplace Simulation |  |  |  |

ASSESSOR COMMENTS: GENERAL

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 1 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Provide detail |
| 1.1A. 1.1B. | Specify type of plan and NCC class determined: |
| 1.1A. 1.1C. | Specify how currency of documents was confirmed: |
| 1.1D. | Specify environmental controls determined from plans/specifications. |
| 1.2B. 1.2C. | Specify how building layout, material requirements spaces and dimensions were determined from plans and specifications. |
| 1.2G. | Specify services identified on site: |
| 1.2H. | Specify site features located to be removed/ retained: |
| 1.2J. | Specify variations found: |
| 1.3A. | Specify concrete footing and slab information identified: |
| 1.3B. | Specify how load bearing points were recognised: |
| 1.3C. | Specify how wind bracing and tie down requirements were confirmed: |
| 1.4B. 1.4C. | Specify how installation points and fixtures were determined: |
| 1.4B. | Specify how connection points were determined: |
| 1.4C. | Specify where finishing details were located: |

CPCCBC4012

Read and interpret plans and specifications

| Practical Task 1 |  |
| --- | --- |
| Description of task: The participant must demonstrate skills and knowledge to identify and interpret building and construction information from plans and specifications in a workplace (or a similar environment) in the context of a construction project including: - Identify types of plans. - Check and confirm that the current version of plans, specifications and amendments is being used. - Use the appropriate plans and aspects of drawings for relevant purposes. - Confirm that the details on plans comply with the specifications. - Identify environmental controls from plans/specifications. - Read and interpret the plans. - Read and confirm standards of work and tolerances from job specifications. - Determine building layout, spaces and dimensions from floor plan. - Determine material sizes, thickness and construction methods from detail drawings for estimates. (Template available for use HO5_ Cost Estimation) - Recognise and confirm job specifications located in drawings, notes, and descriptions. - Determine internal linings, external cladding and roof materials needed for estimates from plans and specifications. .(Template available for use HO5_ Cost Estimation) - Apply information from plans to estimation, planning and supervisory tasks.(Template available for use HO5_ Cost Estimation) - Gain access to the site, achieve orientation and identify services, datum and reduced levels. - Locate site features to be removed or retained. - Determine the building location from the site plans to actual. - Verify plans recognising variations between the plans and the actual site, reporting findings as required. - Appropriately communicate with others to be understood. - Adhere to site safety requirements, including requirements relating to hazard identification. - Identify structural details. - Identify concrete footing and slab sizes and position and type of reinforcing required. - Identify structural load bearing points of the building and compare information from specification. - Identify wind bracing and tie-down requirements checking for accuracy against the wind bracing table. - Identify non-structural details. - Identify provisional sum (PS) and prime cost (PC) items when estimating costs.(Template available for use HO5_ Cost Estimation) - Locate installation and connection points of services to the building. - Identify location of fixtures from plans and details of finishes from specifications. These tasks may be simulated or real. The Participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. The Observer is to provide detailed comments on the tasks completed by the Participant (on the Observer Comments, overleaf). The Assessor is to verify the Observer’s comments, noting their findings in the Assessor Comments (on the back of the Practical Assessment cover page) and provide the assessment outcome. |  |
| Resources required: Work site; plans and specifications, quality documentation; access to the internet/access legislation, current building and construction codes and standards and the NCC. PC applications and software to access CAD. Templates for estimating. |  |
| Observer details |  |
| Name of observer: | Brent Tehan |
| Role of observer (Confirm suitability to sign) | Project Engineer – CPB Contractors |
| Email address of observer | Brent.tehan@cbgujv.com.au |
| Signature of observer: |  |
| Date: | 8/11/2023 |

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |
| --- | --- |
| 1 Identify types of plans |  |
| Check and confirm that the current version of plans, specifications and amendments is being used. |  |
| Use the appropriate plans and aspects of drawings for relevant purposes. |  |
| Confirm that the details on plans comply with the specifications. |  |
| Identify environmental controls from plans/specifications. |  |
| 2 Read and interpret the plan |  |
| Read and confirm standards of work and tolerances from job specifications. |  |
| Determine building layout, spaces and dimensions from floor plan. |  |
| Determine material sizes, thickness and construction methods from detail drawings.(Template available for use HO5_ Cost Estimation) |  |
| Recognise and confirm job specifications located in drawings, notes, and descriptions. |  |
| Determine internal linings, external cladding and roof materials from plans and specifications. (Template available for use HO5_ Cost Estimation) |  |
| Apply information from plans to estimation, planning and supervisory tasks.(Template available for use HO5_ Cost Estimation) |  |
| Gain access to the site, achieve orientation and identify services, datum and reduced levels. |  |
| Locate site features to be removed or retained. |  |
| Determine the building location from the site plans to actual. |  |
| Verify plans recognising variations between the plans and the actual site, reporting findings as required. |  |
| Appropriately communicate with others to be understood. |  |
| Adhere to site safety requirements, including requirements relating to hazard identification. |  |
| 3 Identify structural details |  |
| Identify concrete footing and slab sizes and position and type of reinforcing required. |  |
| Identify structural load bearing points of the building and compare information from specification. |  |
| Identify wind bracing and tie-down requirements checking for accuracy against the wind bracing table. |  |
| 4 Identify non-structural details |  |
| Identify provisional sum (PS) and prime cost (PC) items when estimating costs. |  |
| Locate installation and connection points of services to the building. |  |
| Identify location of fixtures from plans and details of finishes from specifications. |  |

Observer comments:

1. Task 1: Identifying Types of Plans - 1.1A: The participant effectively checked and confirmed the use of the current version of plans and specifications. - 1.1B: They used the appropriate plans and drawings for relevant purposes, demonstrating a clear understanding of their purpose. - 1.1C: The participant confirmed that the details on plans comply with the specifications, ensuring accuracy in execution. - 1.1D: They successfully identified environmental controls from plans and specifications, promoting safety and compliance. 2. Task 2: Reading and Interpreting the Plan - 1.2A: The participant skillfully read and confirmed standards of work and tolerances from job specifications, ensuring quality in execution. - 1.2B: They accurately determined building layout, spaces, and dimensions from floor plans, facilitating precise construction. - 1.2C: The participant effectively determined material sizes, thickness, and construction methods from detail drawings, following the required guidelines. - 1.2D: They recognized and confirmed job specifications located in drawings, notes, and descriptions, demonstrating attention to detail. - 1.2E: The participant successfully determined internal linings, external cladding, and roof materials from plans and specifications, contributing to cost estimation and planning. - 1.2F: They applied information from plans to estimation, planning, and supervisory tasks, enhancing overall project management. - 1.2G: The participant gained access to the site, achieved orientation, and identified services, datum, and reduced levels, ensuring efficient site operations. - 1.2H: They located site features to be removed or retained, contributing to site preparation and safety. - 1.2I: The participant accurately determined the building location from the site plans to actual, ensuring alignment with project goals. - 1.2J: They verified plans, recognizing variations between the plans and the actual site, and reported findings as required, promoting transparency and adaptability. - 1.2K: The participant communicated with others effectively to be understood, fostering collaboration and clarity. - 1.2L: They adhered to site safety requirements, including hazard identification, ensuring a safe work environment. 3. Task 3: Identifying Structural Details - 1.3A: The participant successfully identified concrete footing and slab sizes, as well as the position and type of reinforcing required, contributing to structural integrity. - 1.3B: They accurately identified structural load-bearing points of the building and compared information from specifications, ensuring safety and compliance. - 1.3C: The participant identified wind bracing and tie-down requirements, checking for accuracy against the wind bracing table, promoting structural stability. 4. Task 4: Identifying Non-Structural Details - 1.4A: The participant effectively identified provisional sum (PS) and prime cost (PC) items when estimating costs, contributing to budget accuracy. - 1.4B: They located installation and connection points of services to the building, ensuring the seamless integration of services. - 1.4C: The participant identified the location of fixtures from plans and details of finishes from specifications, contributing to the overall aesthetic and functionality of the project. Overall, the participant demonstrated a high level of competence and attention to detail in completing the specified tasks related to plans, specifications, and construction details. Their ability to interpret and apply this information effectively contributes to the successful execution of construction projects.