Document Report

Job Address:

- 509 Rode Road, Chermside QLD 4032

- 511 Rode Road, Chermside QLD 4032

Type of Development:

- Multiple Dwelling (18 units)

Documents Supplied:

- Engineering services report (incorporating site based stormwater management plan) prepared by Internia Engineering Pty Ltd (Dated: 20/08/2015)

- Traffic Engineering assessment report prepared by BMC Traffic (Dated: 13/08/2015)

- Traffic engineering assessment addendum: Letter prepared by BMC Traffic (Dated: 13/11/2015)

- Basement (Dated: 05/02/2016)

- Ground level (Dated: 05/02/2016)

- Typical levels 1, 2 & 3 (Dated: 05/02/2016)

- Roof level (Dated: 05/02/2016)

- South and West elevations (Dated: 05/02/2016)

- North and east elevations (Dated: 05/02/2016)

- Building section A (Dated: 05/02/2016)

- Building sections B & C (Dated: 05/02/2016)

- Landscape concept plan (Dated: 24/11/2015)

- Landscape planting plan (Dated: 24/11/2015)

- Landscape Planting schedule (Dated: 24/11/2015)

Documents required prior to commencement of construction:

Construction Management Plan

- Provision of alternative pedestrian route/s, past or around the site

- Personal Protection Equipment Areas

- Existing and proposed kerbside allocation signs and line marking (such as bus stops, loading zones and parking meters and/or ticket dispensers)

- Temporary vehicular access points

- A sign-off page is required demonstrating that all contractors and construction staff have read and agreed to comply with the

- Employee and visitor parking areas

- Provision for loading and unloading materials including the location of any remote loading sites

- The location of materials, structures, plant and equipment to be stored or placed on the construction site

- The anticipated staging and programming

- Signage prominently erected at the perimeter of the site entrance stating: - Developers Name and address - A contact representative of the Developer and Principal Contractor and phone number. These people must be responsible to provide 24 hr contact for complaints arising from the development

- Allowable work times as those set by the Queensland Environmental Protection Policy (Noise) 2008.

Approved Drawings and Documents

Earthworks Drawings

Landscape Plan

Streetscape work – As constructed plans

Transport Noise Corridor Design

Transport Noise Corridor – Construction

Site Survey Levels

Subdivision plan

Notated plan

Site drainage drawings

Water approval

Meetings required prior to commencement of construction:

Development assessment planning

Architect

Green space services

Environmental management

Engineer

Inspections and approvals required during construction:

Overall height certification

Landscape certification

Concrete paths certification

Acoustic barrier certification

Transport noise corridor – construction certification

Retaining wall certification

Protect existing infrastructure certification

Site survey levels certification

Remove improvements & obstructions from truncation and dedication certification

Access, grades, manoeuvring, carparks, signs and line marking certification

Plan of subdivision approval

Service conduits and mains certification