New Homeowner Checklist

Home Address:  Lot 58, 5 Rotondo Crescent, Little Mountain QLD

Owners:  Mick & Melinda Bessell

- How to check how much gas is in your bottles

- How to change over an empty gas bottle

- Show clients that lock barrel has been changed to owner’s barrel

- Window and garage door maintenance that you should undertake in the next few months

- How to manually overide your garage door

- Settling cracks and what to expect

- When has a crack become to big to just be settling and the builders needs to be notified emediatly

- What will your tank water be used for and what happens if you run out of power or your pump stops working

- Check charged storm water with clients if home has tanks

- What is the first flush diverta for the tank and how do you use it

- Do you need smoke alarm batteries or are the smoke alarms hard wired in

- How to turn on and use the dishwasher

- Where is the electrical meter number for setting up the connection with the power company

- How do you prime the stove when you first get the gas bottles connected

- How do you prime the gas hot water system and should it be expected that there may be a wait for hot water sometime

- Where do you turn the water off for the home in the event that there is a water leak from a water pipe

- How do you use the oven

- How to adjust the roller catcher on the front door, and explain that it could loosen or tighten over time (only applicable if the door is not a Tri-Lock)

- How to adjust the cabinet doors in the event that they move slightly

- Why it’s important to keep your bathroom and ensuite floor wastes clean

- Where is the NBN located and what does the NBN provider need to do for the initial connection

- Where are the airconditioner overflows and why do they drip

- Show clients where the paint and tiles for touch ups have been left in garage

- Have all documents been signed and photos of the documents been taken including, handovers.com, Stormwater Sign Off, Manuals, Warranties and Key Sign Off form

- Supervisor and client have discussed who to contact and the process in the event that there is a warranty claim on appliances such as the oven / cooktop, dishwasher, air conditioners, ceiling fans and light switches.

Luke Worrall                                   	                              		Mick & Melinda Bessell

____________________________                            	______________________________

Signature	Date___/___/___			Signature	Date___/___/___